## Sheet1
Component | Description | Purpose | Quantity | Cost | Total Cost | Link
PLC | BX-DM1E-18ED23 | PLC | 1 | 475 | 475 | https://www.automationdirect.com/adc/shopping/catalog/programmable_controllers/brx_plcs_(stackable_micro_brick)/plcs_-a-_cpus/bx-dm1e-18ed23
Terminal Block | Konnect-It screw single-level feedthrough terminal block, accepts wire size 26-12 AWG, gray, 20A, 35mm DIN rail mount, 100kA SCCR. Package of 100. For use with jumpers KN-2J12, KN-3J12, KN-4J12 and KN-10J12. | Power Breakout Terminals | 1 | 34.5 | 34.5 | https://www.automationdirect.com/adc/shopping/catalog/wiring_solutions/terminal_blocks/single-level_feedthrough_terminal_blocks/kn-t12gry-100?_gl=1*xcot7p*_up*MQ..&gclid=Cj0KCQjw6oi4BhD1ARIsAL6pox1asPPnva1b8WEFFdhDwEHlsKTxBfCpjn8lT1bh0qMw16HWsjh9LnIaAkbjEALw_wcB
Terminal Block Jumper | Jumps power between terminal blocks | Connect Terminal Block Power | N/A | Depends on Pole type | N/A | https://www.automationdirect.com/adc/shopping/catalog/wiring_solutions/terminal_blocks/jumpers/kn-2j12?_gl=1*12z1fai*_up*MQ..&gclid=Cj0KCQjw6oi4BhD1ARIsAL6pox1asPPnva1b8WEFFdhDwEHlsKTxBfCpjn8lT1bh0qMw16HWsjh9LnIaAkbjEALw_wcB
24V Power Supply | Converts 120AC to 24DC | Converts 120AC to 24DC | 1 | 149 | 149 | https://www.automationdirect.com/adc/shopping/catalog/power_products_(electrical)/dc_power_supplies/din_rail_mount/psr-24-480?_gl=1*rnwxp0*_up*MQ..&gclid=Cj0KCQjw6oi4BhD1ARIsAL6pox1asPPnva1b8WEFFdhDwEHlsKTxBfCpjn8lT1bh0qMw16HWsjh9LnIaAkbjEALw_wcB
E-stop button | 3 NC contact e-stop | Cut wall power to trainer | 1 | 175 | 175 | https://www.automationdirect.com/adc/shopping/catalog/pushbuttons_-z-_switches_-z-_indicators/emergency_stop_control_stations/es-ss-231004
Fuse Holder | DINnector screw circuit protection terminal block, blown fuse indicator, accepts wire size 20-6 AWG, gray, 30A, 24 VAC/VDC LED indicator(s), 35mm DIN rail mount, 10kA SCCR. Package of 10. For use with ABC, AGC, MDA and MDL series fuses. | Safety Fuse holders | 1 | 89 | 89 | https://www.automationdirect.com/adc/shopping/catalog/wiring_solutions/terminal_blocks/circuit_protection_terminal_blocks/dn-f6l24
Fuses | Bussmann fuse, MDL series, small dimension, time-delay, 3A, 250 VAC, glass tube. Package of 5. Supplemental, electronic protection applications. Manufacturer part number: MDL-3-R. | Fuses | 1 | 11 | 11 | https://www.automationdirect.com/adc/shopping/catalog/circuit_protection_-z-_fuses_-z-_disconnects/fuses/small_dimension_electronic_glass_fuses/mdl3
208VAC Female Plug | Bryant industrial heavy duty locking blade connector, 20A, 120/208 VAC, 3-phase, 4-pole, 5-wire, NEMA L21-20, accepts cord size 0.46-1.15in, nylon housing, black and white. | PLC Trainer Power Cord and VFD Power Cord | 2 | 57 | 114 | https://www.automationdirect.com/adc/shopping/catalog/wiring_solutions/wiring_devices/electrical_connectors/72120nc
208VAC Male Plug | Bryant industrial heavy duty locking blade plug, 20A, 120/208 VAC, 3-phase, 4-pole, 5-wire, NEMA L21-20, accepts cord size 0.46-1.15in, nylon housing, black and white. | PLC Trainer Power cord and VFD Power Cord | 2 | 31.5 | 63 | https://www.automationdirect.com/adc/shopping/catalog/wiring_solutions/wiring_devices/electrical_plugs/72120np
3 Phase Wire | Southwire portable cord, unshielded, SOOW, 600V, 5 conductors (includes ground), 12 AWG, EPDM thermoset rubber conductor insulation material, black, white, red, green and orange, CPE thermoset rubber jacket, black, cut to length. | PLCTrainer Power cord and VFD Power Cord | 20ft | 49.6 | 49.36 | https://www.automationdirect.com/adc/shopping/catalog/bulk_wire_-a-_cable/portable_cord/soow-12-5bk-1
120VAC Female Plug | Bryant industrial heavy duty single locking blade receptacle, 30A, 125 VAC, 1-phase, 2-pole, 3-wire, NEMA L5-30, nylon molded housing, black. | 120VAC Outlet | 1 | 26 | 26 | https://www.automationdirect.com/adc/shopping/catalog/wiring_solutions/wiring_devices/electrical_receptacles/70530fr